## Instructions
Exhibit F: Functional Requirements Instructions to Respondents
Instructions for completing Exhibit G - Functional Requirements
1 | Exhibit F lists the desired functional requirements for the City of Burlington's CMMS/EAM System. The respondent must fill out all eight (8) tabs, providing comments as needed.
2 | Mark only ONE option with an "X" to signifiy how your solution meets the stated requirement
| Selection | Description
| Yes | The functionality is provided out of the box with the proposed solution. This functionality may require configuration of the solution.
| 3rd Party | The functionality is supported by 3rd party software. Describe the other software and how it works with your solution.
| Custom | The functionality requires customization to the proposed solution.
| Not Supported | The functionality is currently not supported with the proposed solution and there are no plans to support in the future.
3 | Enter comments sufficient to support the response in the "Comments" field.
4 | DO NOT insert rows.

## General
Exhibit F: Functional Requirements General Requirements
|  | Response |  |  |  | Respondent Comments
ID # | Functional Requirement | Yes | 3rd Party | Custom | No
GN-01 | Ability to be configured through a user interface (e.g. no coding required).
GN-02 | Administrative users to update the contents of all look up tables used to populate drop down menus (asset types, priorities, activity codes, etc.).
GN-03 | Modify (hide, relocate, repurpose, etc.) fields on end-user forms.
GN-04 | Add user specified custom fields on end-user forms.
GN-05 | Users with administrator privileges to manage permissions and roles of users.
GN-06 | Send notifications to all types of users through email, text, etc.
GN-07 | Provide an audit trail for all edits made throughout the application.
GN-09 | Functionality that is "asset agnostic" and does not require separate modules for different asset types.
GN-10 | Link any document, file, or image to a service request, work order or inspection.
GN-11 | GIS map interface that allows the viewing of GIS features and associated attributes.
GN-12 | GIS map interface that allows the viewing of pipe inspection videos and other videos.
GN-13 | GIS map interface should include map and/or feature services that are served from the City's ArcGIS Server or ArcGIS Online.
GN-14 | View all work activities on a map and symbolize by priority, status, type, etc.
GN-15 | Update asset attributes and updates are made directly to the Esri geodatabase data source.
GN-16 | Permissions can be given down to the employee level for whom has access to edit the GIS data.
GN-17 | Create a service request, work order or inspection from one or many assets selected in the map.
GN-18 | Link work activities to GIS assets located within the City's Esri geodatabase environment.
GN-19 | Ability to create, modify and remove assets from the inventory.
GN-20 | Display work activites and history of each asset as they are selected on the GIS map.
GN-21 | Specify required fields (dates, dropdown lists, etc.) so as to ensure data integrity.
GN-22 | Ability to control what work activities users have access to view, create, edit, complete and close.
GN-23 | Configure workflows between user groups depending upon an action, service request and/or work order type.
GN-24 | Configure predefined equipment, labor and material rates for work order cost tracking.

## Mobile
Exhibit F: Functional Requirements Mobile Requirements
|  | Response |  |  |  | Respondent Comments
ID # | Functional Requirement | Yes | 3rd Party | Custom | No
MB-01 | User to access the system in the field using a mobile device.
MB-02 | Allow mobile users to record data in the field without an active internet connection.
MB-03 | Upload data recorded in the field when internet connectivity is restored.
MB-04 | Allow re-assignment of work activities to another user from mobile device.
MB-05 | View work activities associated with logged in user for action on mobile device.
MB-06 | View core information for service requests and work orders on mobile device.
MB-07 | Allow access to GIS maps from a mobile device.
MB-08 | Attach photos to the work activity using a mobile device.
MB-09 | Attach videos to the work activity using a mobile device.
MB-10 | Access and update work activities from a mobile device.
MB-11 | Complete an inspection on a mobile device including custom questions and attaching photos.
MB-12 | Specify equipment, labor and materials used to complete work activity.
MB-13 | Creation of a new service request, work order or inspection from a mobile device.
MB-14 | Update GIS attribution on assets from a mobile device
MB-15 | Capture and store observations for asset inspections through radio buttons, drop down menus, checkboxes, and freeform text.

## Service Requests
Exhibit F: Functional Requirements Service Requests
|  | Response |  |  |  | Respondent Comments
ID # | Functional Requirement | Yes | 3rd Party | Custom | No
SR-01 | Ability to create, map and track internal and external service requests.
SR-02 | Ability to integrate with SeeClickFix to receive service requests and return resolutions.
SR-03 | Ability to specify required information to be captured on a service request.
SR-04 | Capability to configure questions to ask based on service request type.
SR-05 | Capability to assign a default priority based on the service request type.
SR-06 | Provide a configurable selection of request types.
SR-07 | Provide a method to route service requests to a predefined group based on the request type.
SR-08 | Ability to attach pictures and files to new or existing service requests.
SR-09 | Search for requestor call history and view related service requests.
SR-10 | Ability to associate multiple service requests together if same issue.
SR-11 | Record requestor information including a history of previous requests.
SR-12 | Ability to specify comments as internal or external.
SR-13 | Create a related work order while still maintaining linkage to the originating service request.

## Work Management
Exhibit F: Functional Requirements Work Management
|  | Response |  |  |  | Respondent Comments
ID # | Functional Requirement | Yes | 3rd Party | Custom | No
WM-01 | Create a work order from an existing service request with relevant information linked automatically.
WM-02 | Associate a work order with one or many service requests.
WM-03 | Allow authorized users to associate work orders to a specific asset or group of assets.
WM-04 | Have multiple work order types per asset type.
WM-05 | Child work orders to be scheduled and assigned to staff.
WM-06 | Assign individual employees to a work order.
WM-07 | Assign contractors to a work order and attach invoices, costing, etc.
WM-08 | Create an initial estimated cost associated with a work order.
WM-09 | Assign an organization code to a work order that will aid in cost chargebacks.
WM-10 | Associate, maintain, monitor and record all costs (internal or vendor provided) for all work orders.
WM-11 | Schedule preventive maintenance work orders based on a user defined schedule and are auto-generated.
WM-12 | Create inspections of an asset’s physical condition on a work order.
WM-13 | Assign or update a condition rating of an asset on a work order, while maintaining the historical condition ratings.
WM-14 | Track various timestamps based on initiation, assignment, completion, closure, etc.
WM-15 | View work order activities based on user-selected criteria.
WM-16 | Automatically notify staff of work assigned to them or within their area that requires their attention.
WM-17 | Configure a diverse range of work order types that link to assets in the GIS.
WM-18 | Ability to create work orders that are not associated with a GIS feature.
WM-19 | Link and/or associate work orders to a user named event or project which could incude both planned and unplanned events.
WM-20 | Designate an assignment workflow for completion of work, QC and closure.
WM-21 | Categorize work orders as capital or maintenance type of work.

## Inspections
Exhibit F: Functional Requirements Inspections
|  | Response |  |  |  | Respondent Comments
ID # | Functional Requirement | Yes | 3rd Party | Custom | No
IN-01 | Functionality to initiate and track Inspections for all asset types with user defined criteria.
IN-02 | Automatically calculate asset condition ratings using Inspections results.
IN-03 | Uses Inspections to define condition and tracks the condition history of an asset over time.
IN-04 | Schedule recurring Inspections and automatically generate Inspections when they come due.
IN-05 | Define inspection observations with weighted scoring by asset type. Weighted scoring should result in a condition score on the asset.
IN-07 | Ability to create inspections with branched logic.
IN-08 | Inspection templates that meet MACP, PACP and other standards.
IN-09 | Track costs (labor, material, equipment) for Inspections.
IN-10 | Allow the attachment of photos or videos to an inspection from a mobile device.

## Warehouse
Exhibit F: Functional Requirements Warehouse
|  | Response |  |  |  | Respondent Comments
ID # | Functional Requirement | Yes | 3rd Party | Custom | No
WH-01 | System to track inventories for parts, supplies and materials.
WH-02 | System to track unit costs of inventory items.
WH-03 | Automatically adjust quantities based on assignment to work orders.
WH-04 | Allow the designation of multiple warehouse storage locations.
WH-05 | Allow manually adjusting quantities.
WH-06 | Transfer stock from one warehouse to another.
WH-07 | Utilize electronic tools such as bar codes or RFID for processing received goods into inventory.
WH-08 | Associate inventory items to different funds and accounts based on the item.
WH-09 | Capture and maintain supplier information including but not limited to addresses, phone numbers, and contact names.
WH-10 | Allow authorized warehouse users the ability to complete an inventory audit.
WH-11 | Cost values inventory using various methods including average cost, LIFO and FIFO.
WH-12 | Store custom equipment numbers, vendor equipment numbers, and manufacturer numbers for one equipment record.
WH-13 | Track inventory in various unit types (linear ft, cubic ft, count, etc.)
WH-14 | Specify multiple status options for each stock transaction; including issue, return, vendor, vendor with markup, scrap, sale

## Reporting & Dashboards
Exhibit F: Functional Requirements Reporting and Dashboards
|  | Response |  |  |  | Respondent Comments
ID # | Functional Requirement | Yes | 3rd Party | Custom | No
RP-01 | Create and execute predefined searches based on user specified criteria.
RP-02 | Export search results to excel, csv, pdf, etc.
RP-03 | Ability to save a user specific search and rerun at a later time.
RP-04 | Create custom reports with formatting.
RP-05 | Create predefined reports that can easily be executed from the system.
RP-06 | Provide an easy-to-create dashboard environment for KPIs and performance metrics.
RP-07 | Dashboard functionality must have capability to add tabular, charts, graphs and other data visualization elements.

## Lifecycle Management
Exhibit F: Functional Requirements Lifecycle Management
|  | Response |  |  |  | Respondent Comments
ID # | Functional Requirement | Yes | 3rd Party | Custom | No
LM-01 | Assign a condition rating to an asset based on user observations and weightings.
LM-02 | Provide a modeling tool to support predictive analysis of asset infrastructure.
LM-03 | Calculate remaining useful life based on user defined useful life reference tables.
LM-04 | Tools to complete capital forecasting based on asset status and work history.
LM-05 | Capture and maintain asset purchase and replacement costs.
LM-06 | Capture asset failure information.
LM-07 | Model the risk of asset failure over time.
LM-08 | Report on total cost of maintenance for one or many selected assets.
LM-09 | Costs must be associated to assets on the work order and asset costs should be reportable from within the system.
LM-10 | Record projected costs for recommended / requirement maintenance on an asset.
LM-11 | Track and compare work order and project actual costs to estimated costs.
LM-12 | Track costs against project budgets.